1. **GENERAL**
	1. **Summary**
		1. This Section includes procedures and requirements for environmental controls during construction, which includes as applicable:
			1. Temporary erosion and sediment control.
			2. Temporary pest control.
			3. Temporary environmental controls.
			4. Temporary storm water pollution controls.
	2. **Environmental Consultant**
		1. It is the contractor’s responsibility to retain the services of an Environmental Consultant to design and monitor sediment and air quality controls for the duration of the project.
	3. **Pumping and Drainage**
		1. Contractor shall ensure that surface water or other liquid is not permitted to accumulate in excavations nor under structures. Should such conditions develop or be encountered, the water or other liquid shall be controlled and suitably disposed of by means of temporary pumps, piping, drainage lines and ditches, dams, or other methods approved by the Consultant. The cost of all such work shall be borne by the Contractor.

\*\*\* END OF **TEMPORARY CONTROLS** SECTION \*\*\*