1. **GENERAL**
	1. **Requirements Include**
		1. Finish slabs-on-grade, monolithic suspended floor slabs, and concrete toppings.
		2. Include surface treatment with concrete hardener and sealer.
	2. **Related BCIT Guidelines**
		1. Section 03 30 00 Cast-in-Place Concrete.
		2. Section 07 92 00 Joint Sealants.
	3. **Design Requirements**
		1. Verify with Owner the level of grind or concrete and gloss of floor if any.
2. **PRODUCTS**
	1. **Performance**
		1. Flooring finish shall be durable and low maintenance.
		2. Flooring finish must meet low VOC requirements.
	2. **Materials**
		1. Concrete Densifier/Hardener.
		2. Sealer.

\*\*\* END OF **CONCRETE FINISHING** SECTION \*\*\*